## Slide 1
08-01-2023
Alexander Don
S2438345
Supervisor: Dr Symon K. Podilchak
Measuring 2 port VNA system

## Slide 2
THRU
DUT 1
DUT 2
DUT 3
DUT 4
SHORT
OPEN
LOAD
LOAD
OPEN
SHORT
VNA Port 2
VNA Port 1
Notes: These are the port labelling's according to Max’s Code

## Slide 3
DUT 1
DUT 2
DUT 3
DUT 4
PocketVNA Serial Number: 2.0_1202a0971
Notes: Physical Setup of the system

## Slide 4
DUT 4
DUT 3
DUT 2
DUT 1
Notes: The three Devices Under Test (DUT’S)

## Slide 5
Measurement Index Sequencing
When performing the measurements ( using calibrated VNA or otherwise) the following Hex values are inputted into the serial monitor of the “nano_2p” Arduino code in the order shown.
After each reference/device is indexed then full 2-port measurement are taken of said reference/device and recorded.

## Slide 6
Ideal Reference – The DUT was measured using the Copper Mountain VNA calibrated using its own standards using its inherent software.
PocketVNA (PVNA) – These are the measured results using the PocketVNA after it has been calibrated using the built-in SOLT standards of the system.
Copper Mountain VNA (CMVNA)– These are the measured results using a professional VNA (Copper Mountain VNA) after it has been calibrated using the built-in SOLT standards of the system.
Measurement Labels

## Slide 7
DUT 1

## Slide 8
DUT 2

## Slide 9
DUT 3

## Slide 10
DUT 4