## Slide 1
Remote Lab – two port calibration

## Slide 2
Need to use so called 12-error model

## Slide 3
Step one was described in the past to obtain 3 error points

## Slide 4
They are connected to the actual set of 3 equations
Гм1 = measured CAL kits
Simply using linsolve in MATLAB with matrixes

## Slide 5
Same need to be done for second port to obtain another 3 errors
Гм1 = measured CAL kits
Simply using linsolve in MATLAB with matrixes

## Slide 6
Leakage error term calculations are avoided (they are not play big role and used in the old VNAs where need to obtain S21 between 2 internal couplers)

## Slide 7
Connect VNA with thru to calculate source tracking error with formula:
For port 1

## Slide 8
Do the same for port 2 error terms

## Slide 9
Connect the DUT and measure DUT response to correct the data

## Slide 10
Calculate corrected data and D term

## Slide 11
S11 and S22 using this method have some instability issues,
Use old 1 pore calibration process for 3 terms.

## Slide 12
Resulted responses for 4 port coupler

## Slide 13
Resulted responses for 4 port coupler